| Location: |  |  | Date: |  |  |
| --- | --- | --- | --- | --- | --- |
| Engine #: |  |  | Reviewed by: |  |  |
| Pump Make/Model: |  |  | Pump Hours: |  |  |
| Foam Unit Make/Model: |  |  | Last Performance Test: |  |  |
| Drill Parameters |  | Evaluator will test engine personal on their ability to operate pump and foam unit. The evaluator will require the operator to start pump, regulate water pressure, adjust foam consistency and draft water. |  |  |  |
| Performance Expectation |  | Engine operator will perform basic preventive maintenance, start pump, regulate water pressure, adjust foam consistency, draft water, and perform a flow test. |  |  |  |
| Equipment |  | Fully equipped engine, Flow test meter, Water source to draft from. |  |  |  |
| Key Code: E = Exceeds Standard M = Meets Standard NI = Needs Improvement |  |  |  |  |  |
| Task |  |  | Code | Remarks |  |
|  | Perform basic preventive maintenance checks to include: - Check pump gear oil - Check engine oil - Check radiator coolant level - Check air filter |  |  |  |  |
|  | Primes pump and drafts water. |  |  |  |  |
|  | Starts pump and regulates pressure. |  |  |  |  |
|  | Regulates foam proportioner to required levels. |  |  |  |  |
|  | All discharges flow water, valves and handles work correctly. |  |  |  |  |
|  | Foam proportioner operates properly. |  |  |  |  |
|  | System does not leak: - Tank - Manifolds - Hoses |  |  |  |  |
|  | Emergency shut down system operates properly: - Low water pressure - High engine temperature - Low oil pressure |  |  |  |  |
|  | All gauges operate properly. - Tachometer - Hour meter - Water level - Water pressure - Oil pressure - Water Temperature - Amp meter |  |  |  |  |

| PSI | GPM | RPM |
| --- | --- | --- |
| Free Flow |  |  |
| 50 PSI |  |  |
| 100 PSI |  |  |
| 150 PSI |  |  |
| 200 PSI |  |  |
| 250 PSI |  |  |
| 300 PSI |  |  |